ATC DIGITAL DATA SUBMISSION PROCEDURES

(for brachytherapy treatments on the surgical arm)

- For patients on this trial randomized to the surgical arm and treated with LDR brachy therapy, digital data submission of the LDR post planning data to the ITC is required.  The information below is the procedure for submitting these data.

- DIGITAL DATA FORMAT

Digital patient treatment planning data must be submitted in one of two possible digital formats:

- RTOG Specification for Tape/Network Format for Exchange of Treatment planning Data, Version 3.20, or later; or

- DICOM 3.0 in compliance with the ATC's DICOM 3.0 Conformance Statement

An institutions treatment planning system must have the capability of exporting data in either of these formats.  A list of commercial systems that are known to have this capability are listed on the ATC website (http://atc.wustl.edu/credentialing/atc_compliant_tps.html).  Institutions must obtain a username and password to permit submission of data to ATC servers.  Please contact the Image Guided Therapy QA Center (itc@wustl.edu) to request an account.  Include your institution name and any other identifying information for your institution.

- REQUIRED PROTOCOL DIGITAL DATA

Digital data submitted to the ATC for either a dry run or an actual, registered protocol case must include the following in accordance with the appropriate (protocol) requirements:

- Pre surgery CTs

- Post Surgery treatment planning CTs

- Protocol-compliant structures;

- brachytherapy source parameters

- 3D Dose distributions (absolute dose) for all fraction groups

- DRR or digital film portal images (per protocol)

- DVH's for the total dose plan

SUBMITTING DIGITAL DATA VIA THE INTERNET

Digital patient treatment planning data in RTOG Data Exchange or DICOM format can be submitted directly to the ITC using Secure FTP (SFTP).  Please use the following steps to submit data via SFTP:

1.      Contact the ITC (itc@wustl.edu or 314-747-5415) to obtain an SFTP account.

2.      Connect to ITCsubmit.wustl.edu using an SFTP (SSH2) client program and login with the provided username and password.

3.      Change (cd) to the "incoming" directory.

4.      Create a new sub-directory (mkdir) within "incoming" with a name that is pertinent to the data that you are submitting, Please use only alphanumeric characters, periods ("."), hyphens ("-") and underscores ("_") in directory names or filenames.

5.      Upload files.

6.      Send e-mail to itc@wustl.edu to indicate that you have uploaded protocol case data.  Please identify the study group, protocol, and case number for the submission.

7.      Submit an online DDSI (Digital Data Submission Information) form from the ATC web site.

Digital patient treatment planning data may also be written on 4mm tape cartridge or CD-R.  Please consult your treatment planning system documentation to see if this is an option for you.

Contact the ITC if you have any questions about either of these formats or your RTP system�s ability to comply with these requirements.  You may also consult the list of commercial systems that are known to have this capability on the ATC website.

Revised 3/22/2011